**Request for Price Quotation**

Date: 13th Dece’2021

………………………………….…………………………………

………………………………………….............................

We are inviting the potential vendors to submit their quotations for the pHMeter and Refractometer. Interested Vendors are requested to submit your quotation (hard copy or softcopy by email body) at **Solidaridad Network Asia,** Apartment # A1, Merrydale, 1st Floor, House # 32, Road # 10A, Dhanmondi, Dhaka-1209. Detail specifications are as follows**:**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl No | Item Name | Key Specifications | Quantity (Pcs) | Unit Price | Price Tk |
| 1 | pHMeter | * Range: 0.0 to 14.0 pH, 0.0 to 50.0°C ( 37.0 TO 122.0 °F) * Resolution: 0.1Ph /01 °C /01°F * Accuracy: ± 0.1pH / ± 0.5°C/±1.0 °F * Calculation: Automatic, One or Two points, (pH 4.01.7.01.10.1) * Temperature compensation: Automatic 0 to 50 0°C * Battery Type: CR 2032 3v Li-ion (1 pc) * Battery Life: Approximately 800 hours of continuous use * Environment : 0 to 50 0°C ( 32 to 122 °F), RH 100 % max * Dimension: 160X 40X 17 mm (6.3X 1.6X 0.7”) * Weight: With Battery 65 g (2.3 oz) * Made in: Japan | 30 |  |  |
| 2 | Refractometer | * Salinity Test Range: 0 ~ 100 ppt (parts per thousand) with resolution 1ppt * Specific Gravity (D 20/20): 1.000 ~ 1.070 with resolution 0.001 * Accuracy: Salinity: +/- 1ppt (0.10%); Specific Gravity: +/- 0.001 * Main material: Aluminum * ATC (Automatic Temperature Compensation System):10℃~30℃ Traditional version. Using screw driver for calibration * Made in: Preferably – Romania | 30 |  |  |

**Terms and Conditions:**

1. **Submission Date:** On or before 20th December 2021
2. **Delivery Location:** Solidaridad Network Asia, Khulna Office.
3. **Price & VAT/Tax**: VAT/Tax amount will be deducted from the invoice as per GOB rules and regulations.
4. SNA Standard Payment Terms are 15 days from receipt of the goods or service.
5. If you decide not to submit a financial offer, we would be grateful if you could inform us in writing, indicating the reasons for your decision.

Thank you,

**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_** Bidder’s Signature

**Probir Kumar Biswas**

**Senior Admin officer**